## Sheet1
Record of Power Ramping
Sr # | Date | Time | From (MW) | TO (MW) | Ramp Rate (MW/min) | Power Difference (MW) | Time Required (Min) | Min | sec | Target Achived Time | Ramp | Engineer Name | date
1 | 20-05-2021 | 0:54 | 795 | 600 | [6 empty] | Ramp Down | Zubair Tufail | 20
2 |  | 6:08 | 600 | 795 | [6 empty] | Ramp Up | Abdullah | 21
3 | 21-05-2021 | 0:12 | 795 | 600 | [6 empty] | Ramp Down | Abu Bakar | 22
4 |  | 2:55 | 600 | 750 | [6 empty] | Ramp Up | Abu Bakar | 23
5 |  | 7:02 | 750 | 795 | [6 empty] | Ramp Up | Abu Bakar | 24
6 | 22-05-2021 | 4:34 | 795 | 600 | [6 empty] | Ramp Down | Asad Ali | 25
7 |  | 4:52 | 600 | 400 | [6 empty] | Ramp Down | Zubair Tufail | 26
8 |  | 10:30 | 400 | 800 | [6 empty] | Ramp Up | Zubair Tufail | 27
9 |  | 16:47 | 800 | 780 | [6 empty] | Ramp Down | Zubair Tufail | 28
10 |  | 20:43 | 780 | 680 | [6 empty] | Ramp Down | Rehan Majeed | 29
11 |  | 16:47 | 680 | 780 | [6 empty] | Ramp Up | Ehzaz | 30
12 | 23-05-2021 | 4:04 | 780 | 650 | [6 empty] | Ramp Down | Ehzaz | 31
13 |  | 5:59 | 650 | 750 | [6 empty] | Ramp Up | Ehzaz
14 |  | 6:11 | 750 | 795 | [6 empty] | Ramp Up | Ehzaz
15 |  | 12:50 | 795 | 800 | [6 empty] | Ramp Up | Asad Ali
16 |  | 20:30 | 800 | 790 | [6 empty] | Ramp Down | Abu Bakar
17 | 24-05-2021 | 2:47 | 790 | 650 | [6 empty] | Ramp Down | Zubair Tufail
18 |  | 7:24 | 650 | 795 | [6 empty] | Ramp Up | Abdullah
20 | 28-05-2021 | 22:50 | 780 | 400 | [6 empty] | Ramp Down | Abu Bakar
21 | 29-05-2021 | 0:37 | 400 | 795 | [6 empty] | Ramp Up | Abu Bakar
22 |  | 5:06 | 765 | 600 | [6 empty] | Ramp Down | M. Usman
23 |  | 9:37 | 600 | 795 | [6 empty] | Ramp Up
24 | 30-05-2021 | 0:13 | 795 | 400 | [6 empty] | Ramp Down | Ahmed Usman
25 |  |  | 400 | 795 | [6 empty] | Ramp Up
26 | 31-05-2021 | 17:59 | 795 | 500 | [6 empty] | Ramp Down | Asad Ali
27 |  | 19:34 | 500 | 400 | [6 empty] | Ramp Down | Asad Ali
28 | 01-06-2021 | 15:35 | 400 | 600 | [6 empty] | Ramp Up | M. Usman
29 |  | 18:13 | 600 | 795 | [6 empty] | Ramp Up | Asad Ali
30 |  |  | 795 | 1000 | [6 empty] | Ramp Up
31 | 04-06-2021 | 11:27 | 1000 | 1200 | [6 empty] | Ramp Up | ABDULLAH
32 |  | 11:53 | 1200 | 1400 | [6 empty] | Ramp Up | ABDULLAH
33 |  | 12:30 | 1400 | 2200 | [6 empty] | Ramp Up | ABDULLAH
34 |  | 16:51 | 2200 | 2400 | [6 empty] | Ramp Up | ABDULLAH
35 |  | 19:29 | 2400 | 2200 | [6 empty] | Ramp Down | ABDULLAH
36 |  | 20:11 | 2200 | 1600 | [6 empty] | Ramp Down | Asad Ali
37 | 05-06-2021 | 6:50 | 1600 | 2200 | [6 empty] | Ramp Up | ABDULLAH
38 |  | 10:36 | 2200 | 1400 | [6 empty] | Ramp Down | Asad Ali
39 |  | 10:52 | 1400 | 1000 | [6 empty] | Ramp Down | Asad Ali
40 |  | 11:04 | 1000 | 600 | [6 empty] | Ramp Down | Asad Ali
41 |  | 11:08 | 600 | 400 | [6 empty] | Ramp Down | Asad Ali
42 |  | 11:15 | 400 | 200 | [6 empty] | Ramp Down | Asad Ali
43 |  | 11:32 | 200 | 400 | [6 empty] | Ramp Up | Asad Ali
44 |  | 11:41 | 400 | 600 | [6 empty] | Ramp Up | Asad Ali
45 |  | 11:49 | 600 | 800 | [6 empty] | Ramp Up | Asad Ali
46 |  | 12:05 | 800 | 2200 | [6 empty] | Ramp Up | Asad Ali
|  |  | 2200 | 1600 | [6 empty] | Ramp Down
47 | 06-06-2021 | 0:05 | 1600 | 1300 | [6 empty] | Ramp Down | Abu Bakar
48 |  | 0:40 | 1300 | 1000 | [6 empty] | Ramp Down | Abu Bakar
49 |  | 1:15 | 1000 | 800 | [6 empty] | Ramp Down | Abu Bakar
50 |  | 2:02 | 800 | 1000 | [6 empty] | Ramp Up | Abu Bakar
51 |  | 2:31 | 1000 | 1200 | [6 empty] | Ramp Up | Abu Bakar
52 |  | 4:07 | 1200 | 1400 | [6 empty] | Ramp Up | Asad Ali
53 |  | 14:06 | 1400 | 2000 | [6 empty] | Ramp Up | Zubair Tufail
54 |  | 21:00 | 2000 | 1600 | [6 empty] | Ramp Down | Zubair Tufail
55 |  | 21:28 | 1600 | 1200 | [6 empty] | Ramp Down | Zubair Tufail
56 | 07-06-2022 | 8:02 | 1200 | 1400 | [6 empty] | Ramp Up | Zubair Tufail
57 |  | 8:17 | 1400 | 1600 | [6 empty] | Ramp Up | Zubair Tufail
58 |  |  | 1600 | 1400 | [6 empty] | Ramp Down
59 |  | 9:19 | 1400 | 1600 | [6 empty] | Ramp Up | Kashif
60 | 08-06-2021 | 11:18 | 1600 | 1800 | [6 empty] | Ramp Up | ASAD ALI
61 | 09-06-2021 | 9:26 | 1800 | 2000 | [6 empty] | Ramp Up | ASAD ALI
62 | 10-06-2021 | 21:11 | 2000 | 1950 | [6 empty] | Ramp Down | ASAD ALI
63 | 11-06-2021 | 1:31 | 1950 | 1600 | [6 empty] | Ramp Down | Kashif
64 |  | 6:10 | 1600 | 1800 | [6 empty] | Ramp Up | Kashif
65 | 12-06-2021 | 3:50 | 1800 | 1600 | [6 empty] | Ramp Down | Ehzaz
66 |  | 14:37 | 1600 | 1800 | [6 empty] | Ramp Up | Zubair Tufail
67 |  | 16:20 | 1800 | 2000 | [6 empty] | Ramp Up | Zubair Tufail
68 |  | 16:32 | 2000 | 1900 | [6 empty] | Ramp Down | Zubair Tufail
69 |  | 18:57 | 1900 | 1500 | [6 empty] | Ramp Down | Zubair Tufail
70 | 13-06-2021 | 5:37 | 1500 | 1000 | [6 empty] | Ramp Down | Zubair Tufail
71 |  | 6:24 | 1000 | 600 | [6 empty] | Ramp Down | ASAD ALI
72 |  | 7:27 | 600 | 400 | [6 empty] | Ramp Down | ASAD ALI
73 |  | 14:23 | 400 | 700 | [6 empty] | Ramp Up | ASAD ALI
74 |  | 14:44 | 700 | 1000 | [6 empty] | Ramp Up | Ehzaz
75 |  | 15:09 | 1000 | 1100 | [6 empty] | Ramp Up | Ehzaz
76 |  | 18:59 | 1100 | 800 | [6 empty] | Ramp Down | ASAD ALI
77 |  | 20:21 | 800 | 1300 | [6 empty] | Ramp Up | ASAD ALI
78 | 14-06-2021 | 8:20 | 1300 | 1400 | [6 empty] | Ramp Up | Zubair Tufail
79 |  | 11:17 | 1400 | 1600 | [6 empty] | Ramp Up | Zubair Tufail
80 |  | 11:24 | 1600 | 1700 | [6 empty] | Ramp Up | Zubair Tufail
81 |  | 14:24 | 1700 | 1800 | [6 empty] | Ramp Up | Zubair Tufail
82 | 15-06-2021 | 4:43 | 1800 | 1400 |  | 400 |  | 0 | 0 |  | Ramp Down | ASAD ALI
83 |  | 8:59 | 1400 | 1000 | 200 | 400 | 2 | 2 | 0 | 9:01 | Ramp Down | ASAD ALI
84 |  | 9:58 | 1000 | 600 | 300 | 400 | 1.3333 | 1 | 20 | 9:59 | Ramp Down | ASAD ALI
85 |  | 10:54 | 600 | 400 | 100 | 200 | 2 | 2 | 0 | 10:56 | Ramp Down | ASAD ALI
86 |  | 21:47 | 400 | 1000 | 200 | 600 | 3 | 3 | 0 | 21:50 | Ramp Up | Rehan Majeed
87 | 16-06-2021 | 11:31 | 1000 | 1100 | 100 | 100 | 1 | 1 | 0 | 11:32 | Ramp Up | Zubair Tufail
88 |  | 16:50 | 1100 | 800 | 100 | 300 | 3 | 3 | 0 | 16:53 | Ramp Down | Zubair Tufail
89 |  | 17:40 | 800 | 600 | 100 | 200 | 2 | 2 | 0 | 17:42 | Ramp Down | Zubair Tufail
90 |  | 19:06 | 600 | 400 | 100 | 200 | 2 | 2 | 0 | 19:08 | Ramp Down | Kashif
91 | 17-06-2021 | 14:25 | 400 | 600 | 100 | 200 | 2 | 2 | 0 | 14:27 | Ramp Up | ASAD ALI
92 |  | 17:07 | 600 | 800 | 100 | 200 | 2 | 2 | 0 | 17:09 | Ramp Up | Ehzaz
93 |  | 17:33 | 800 | 1000 | 100 | 200 | 2 | 2 | 0 | 17:35 | Ramp Up | Ehzaz
94 |  | 18:18 | 1000 | 700 | 100 | 300 | 3 | 3 | 0 | 18:21 | Ramp Down | Ehzaz
95 |  | 19:01 | 700 | 500 | 100 | 200 | 2 | 2 | 0 | 19:03 | Ramp Down | ASAD ALI
96 | 19-06-2021 | 8:45 | 500 | 700 | 100 | 200 | 2 | 2 | 0 | 8:47 | Ramp Up | ASAD ALI
97 |  | 9:09 | 700 | 800 | 100 | 100 | 1 | 1 | 0 | 9:10 | Ramp Up | ASAD ALI
98 |  | 15:05 | 800 | 700 | 100 | 100 | 1 | 1 | 0 | 15:06 | Ramp Down | ASAD ALI
99 |  | 15:54 | 700 | 1200 | 200 | 500 | 2.5 | 2 | 30 | 15:56 | Ramp Up | ASAD ALI
100 |  | 16:33 | 1200 | 600 | 300 | 600 | 2 | 2 | 0 | 16:35 | Ramp Down | ASAD ALI
101 | 20-06-2021 | 11:32 | 600 | 800 | 100 | 200 | 2 | 2 | 0 | 11:34 | Ramp Up | Shamaas
102 |  | 18:21 | 800 | 400 | 999 | 400 | 0.4004 | 0 | 24.024 | 18:21 | Ramp Down | Shamaas
103 |  | 18:24 | 400 | 200 | 999 | 200 | 0.2002 | 0 | 12.012 | 18:24 | Ramp Down | Shamaas
104 | 21-06-2021 | 0:56 | 200 | 400 | 100 | 200 | 2 | 2 | 0 | 0:58 | Ramp Up | Zubair Tufail
105 |  | 8:41 | 400 | 600 | 100 | 200 | 2 | 2 | 0 | 8:43 | Ramp Up | ASAD ALI
106 | 22-06-2021 | 7:46 | 600 | 1200 | 200 | 600 | 3 | 3 | 0 | 7:49 | Ramp Up | ASAD ALI
107 |  | 14:46 | 1200 | 1400 | 200 | 200 | 1 | 1 | 0 | 14:47 | Ramp Up | Zubair Tufail
108 | 24-06-2021 | 8:19 | 1400 | 1600 | 100 | 200 | 2 | 2 | 0 | 8:21 | Ramp Up | Ehzaz
109 | 25-06-2021 | 21:53 | 1600 | 800 | 200 | 800 | 4 | 4 | 0 | 21:57 | Ramp Down | Abu Bakar
110 | 26-06-2021 | 0:22 | 800 | 1000 | 200 | 200 | 1 | 1 | 0 | 0:23 | Ramp Up | Abu Bakar
111 |  | 0:32 | 1000 | 1200 | 200 | 200 | 1 | 1 | 0 | 0:33 | Ramp Up | Abu Bakar
112 |  | 23:44 | 1200 | 1600 | 500 | 400 | 0.8 | 0 | 48 | 23:45 | Ramp Up | Kashif
113 | 27-06-2021 | 1:53 | 1600 | 1200 | 200 | 400 | 2 | 2 | 0 | 1:55 | Ramp Down | Kashif
114 |  | 3:53 | 1200 | 800 | 200 | 400 | 2 | 2 | 0 | 3:55 | Ramp Down | Zubair Tufail
115 |  | 19:21 | 800 | 1100 | 300 | 300 | 1 | 1 | 0 | 19:22 | Ramp Up | Abu Bakar
116 | 28-06-2021 | 0:52 | 1100 | 900 | 300 | 200 | 0.66667 | 0 | 40 | 0:53 | Ramp Down | Abu Bakar
117 |  | 1:12 | 900 | 1100 | 300 | 200 | 0.66667 | 0 | 40 | 1:13 | Ramp Up | Abu Bakar
118 |  | 7:43 | 1100 | 1600 | 300 | 500 | 1.6667 | 1 | 40 | 7:45 | Ramp Up | ASAD ALI
119 |  | 12:23 | 1600 | 1200 | 200 | 400 | 2 | 2 | 0 | 12:25 | Ramp Down | Shamaas
120 |  | 17:55 | 1200 | 1500 | 200 | 300 | 1.5 | 1 | 30 | 17:56 | Ramp Up | Zubair Tufail
121 | 29-06-2021 | 2:13 | 1500 | 1200 | 200 | 300 | 1.5 | 1 | 30 | 2:14 | Ramp Down | ASAD ALI
122 | 30-06-2021 | 8:26 | 1200 | 1400 | 200 | 200 | 1 | 1 | 0 | 8:27 | Ramp Up | ASAD ALI
123 |  | 8:35 | 1400 | 1500 | 200 | 100 | 0.5 | 0 | 30 | 8:36 | Ramp Up | ASAD ALI
124 |  | 13:44 | 1500 | 1700 | 200 | 200 | 1 | 1 | 0 | 13:45 | Ramp Up | ASAD ALI
125 |  | 13:53 | 1700 | 1800 | 200 | 100 | 0.5 | 0 | 30 | 13:54 | Ramp Up | ASAD ALI
126 | 01-07-2021 | 11:24 | 1800 | 1600 | 200 | 200 | 1 | 1 | 0 | 11:25 | Ramp Down | Abu Bakar
127 |  | 12:02 | 1600 | 1500 | 100 | 100 | 1 | 1 | 0 | 12:03 | Ramp Down | Abu Bakar
128 |  | 14:38 | 1500 | 1800 | 200 | 300 | 1.5 | 1 | 30 | 14:40 | Ramp Up | Rehan Majeed
129 | 02-07-2021 | 8:58 | 1800 | 1700 | 100 | 100 | 1 | 1 | 0 | 8:59 | Ramp Down | Zubair Tufail
130 |  | 11:03 | 1700 | 2000 | 999 | 300 | 0.3003 | 0 | 18.018 | 11:03 | Ramp Up | Zubair Tufail
131 |  | 12:32 | 2000 | 1900 | 100 | 100 | 1 | 1 | 0 | 12:33 | Ramp Down | Zubair Tufail
132 |  | 13:05 | 1900 | 2200 | 200 | 300 | 1.5 | 1 | 30 | 13:06 | Ramp Up | Zubair Tufail
133 |  | 17:54 | 2200 | 1900 | 200 | 300 | 1.5 | 1 | 30 | 17:56 | Ramp Down | Zubair Tufail
134 |  | 19:13 | 1900 | 1600 | 100 | 300 | 3 | 3 | 0 | 19:16 | Ramp Down | Zubair Tufail
135 |  | 20:14 | 1600 | 1900 | 200 | 300 | 1.5 | 1 | 30 | 20:16 | Ramp Up | ASAD ALI
136 | 03-07-2021 | 3:02 | 1900 | 1500 | 100 | 400 | 4 | 4 | 0 | 3:06 | Ramp Down | ASAD ALI
137 |  | 8:37 | 1500 | 1700 | 200 | 200 | 1 | 1 | 0 | 8:38 | Ramp Up | Zubair Tufail
138 |  | 8:44 | 1700 | 1800 | 100 | 100 | 1 | 1 | 0 | 8:45 | Ramp Up | Zubair Tufail
139 |  | 9:22 | 1800 | 1900 | 100 | 100 | 1 | 1 | 0 | 9:23 | Ramp Up | Zubair Tufail
140 |  | 9:31 | 1900 | 1600 | 100 | 300 | 3 | 3 | 0 | 9:34 | Ramp Down | Abu Bakar
141 |  | 13:26 | 1600 | 2200 | 200 | 600 | 3 | 3 | 0 | 13:29 | Ramp Up | Abu Bakar
142 |  | 18:38 | 2200 | 1900 | 200 | 300 | 1.5 | 1 | 30 | 18:40 | Ramp Down | ASAD ALI
143 | 04-07-2021 | 1:46 | 1900 | 1700 | 100 | 200 | 2 | 2 | 0 | 1:48 | Ramp Down | ASAD ALI
144 |  | 7:51 | 1700 | 2000 | 100 | 300 | 3 | 3 | 0 | 7:54 | Ramp Up | Abu Bakar
145 |  | 21:47 | 2000 | 1600 | 200 | 400 | 2 | 2 | 0 | 21:49 | Ramp Down | Abu Bakar
146 | 05-07-2021 | 0:29 | 1600 | 1000 | 200 | 600 | 3 | 3 | 0 | 0:32 | Ramp Down | Zubair Tufail
147 |  | 7:04 | 1000 | 1400 | 200 | 400 | 2 | 2 | 0 | 7:06 | Ramp Up | Zubair Tufail
148 |  | 7:17 | 1400 | 1500 | 100 | 100 | 1 | 1 | 0 | 7:18 | Ramp Up | Zubair Tufail
149 |  | 7:42 | 1500 | 1700 | 100 | 200 | 2 | 2 | 0 | 7:44 | Ramp Up | Zubair Tufail
150 |  | 8:38 | 1700 | 2000 | 100 | 300 | 3 | 3 | 0 | 8:41 | Ramp Up | Shamaas
151 |  | 8:45 | 2000 | 2200 | 200 | 200 | 1 | 1 | 0 | 8:46 | Ramp Up | Shamaas
152 | 06-07-2021 | 1:35 | 2200 | 1600 | 200 | 600 | 3 | 3 | 0 | 1:38 | Ramp Down | Zubair Tufail
153 |  | 7:45 | 1600 | 1900 | 200 | 300 | 1.5 | 1 | 30 | 7:46 | Ramp Up | Zubair Tufail
154 |  | 7:51 | 1900 | 2200 | 200 | 300 | 1.5 | 1 | 30 | 7:52 | Ramp Up | Abu Bakar
155 |  | 23:35 | 2200 | 2100 | 100 | 100 | 1 | 1 | 0 | 23:36 | Ramp Down | Shamaas
156 | 07-07-2021 | 2:57 | 2100 | 1600 | 200 | 500 | 2.5 | 2 | 30 | 3:00 | Ramp Down | Shamaas
157 |  | 6:47 | 1600 | 1900 | 100 | 300 | 3 | 3 | 0 | 6:50 | Ramp Up | Shamaas
158 |  | 6:58 | 1900 | 2000 | 100 | 100 | 1 | 1 | 0 | 6:59 | Ramp Up | Shamaas
159 |  | 7:05 | 2000 | 2100 | 100 | 100 | 1 | 1 | 0 | 7:06 | Ramp Up | Shamaas
160 |  | 7:12 | 2100 | 2200 | 100 | 100 | 1 | 1 | 0 | 7:13 | Ramp Up | Shamaas
161 |  | 9:14 | 2200 | 1900 | 200 | 300 | 1.5 | 1 | 30 | 9:15 | Ramp Down | Zubair Tufail
162 |  | 9:35 | 1900 | 2000 | 200 | 100 | 0.5 | 0 | 30 | 9:35 | Ramp Up | Zubair Tufail
163 |  | 9:46 | 2000 | 2100 | 200 | 100 | 0.5 | 0 | 30 | 9:46 | Ramp Up | Zubair Tufail
164 | 08-07-2021 | 3:37 | 2100 | 1900 | 100 | 200 | 2 | 2 | 0 | 3:39 | Ramp Down | ASAD ALI
165 |  | 8:00 | 1900 | 2100 | 200 | 200 | 1 | 1 | 0 | 8:01 | Ramp Up | ASAD ALI
166 | 09-07-2021 | 1:26 | 2100 | 1900 | 100 | 200 | 2 | 2 | 0 | 1:28 | Ramp Down | ASAD ALI
167 |  | 21:50 | 1900 | 2100 | 100 | 200 | 2 | 2 | 0 | 21:52 | Ramp Up | Abu Bakar
168 |  | 21:58 | 2100 | 2200 | 100 | 100 | 1 | 1 | 0 | 21:59 | Ramp Up | Abu Bakar
169 | 10-07-2021 | 10:45 | 2200 | 1400 | 200 | 800 | 4 | 4 | 0 | 10:49 | Ramp Down | ASAD ALI
170 |  | 16:47 | 1400 | 1600 | 100 | 200 | 2 | 2 | 0 | 16:49 | Ramp Up | Shamaas
171 |  | 22:22 | 1600 | 1900 | 100 | 300 | 3 | 3 | 0 | 22:25 | Ramp Up | Zubair Tufail
172 | 11-07-2021 | 4:39 | 1900 | 1500 | 250 | 400 | 1.6 | 1 | 36 | 4:41 | Ramp Down | Zubair Tufail
173 |  | 12:09 | 1500 | 1800 | 100 | 300 | 3 | 3 | 0 | 12:12 | Ramp Up | Shamaas
174 | 12-07-2021 | 1:14 | 1800 | 1500 | 200 | 300 | 1.5 | 1 | 30 | 1:16 | Ramp Down | Qasim
175 |  | 3:09 | 1500 | 1200 | 200 | 300 | 1.5 | 1 | 30 | 3:11 | Ramp Down | Qasim
176 |  | 5:48 | 1200 | 600 | 200 | 600 | 3 | 3 | 0 | 5:51 | Ramp Down | Shamaas
177 |  | 14:52 | 600 | 400 | 100 |  | 2 |  |  | 15:54 | Ramp Down | Zubair Tufail
178 |  | 14:58 | 400 | 0 | Pole 1 and Pole 2 Blocked for Maintenance | [6 empty] | ASAD ALI
179 |  | 23:20 | 0 | 200 | 100 | 200 | 2 | 2 | 0 | 23:22 | Ramp Up | ASAD ALI
180 | 13-07-2021 | 6:57 | 200 | 800 | 200 | 600 | 3 | 3 | 0 | 7:00 | Ramp Up | Shamaas
181 |  | 15:09 | 800 | 1200 | 200 | 400 | 2 | 2 | 0 | 15:11 | Ramp Up | Zubair Tufail
182 |  | 15:22 | 1200 | 1000 | 200 | 200 | 1 | 1 | 0 | 15:23 | Ramp Down | Zubair Tufail
183 | 14-07-2021 | 3:26 | 1000 | 500 | 500 | 500 | 1 | 1 | 0 | 3:27 | Ramp Down | Abu Bakar
184 |  | 14:46 | 500 | 800 | 200 | 300 | 1.5 | 1 | 30 | 14:48 | Ramp Up | Shamaas
185 |  | 14:55 | 800 | 1000 | 200 | 200 | 1 | 1 | 0 | 14:56 | Ramp Up | Shamaas
186 |  | 15:12 | 1000 | 600 | 200 | 400 | 2 | 2 | 0 | 15:14 | Ramp Down | Shamaas
187 |  | 15:49 | 600 | 400 | 200 | 200 | 1 | 1 | 0 | 15:50 | Ramp Down | Shamaas
188 | 15-07-2021 | 13:23 | 400 | 600 | 100 | 200 | 2 | 2 | 0 | 13:25 | Ramp Up | Qasim
189 |  | 14:45 | 600 | 900 | 200 | 300 | 1.5 | 1 | 30 | 14:46 | Ramp Up | Shamaas
190 | 16-07-2021 | 10:35 | 900 | 1200 | 200 | 300 | 1.5 | 1 | 30 | 10:37 | Ramp Up | Shamaas
191 |  | 12:36 | 1200 | 1100 | 100 | 100 | 1 | 1 | 0 | 12:37 | Ramp Down | Shamaas
192 |  | 12:47 | 1100 | 700 | 200 | 400 | 2 | 2 | 0 | 12:49 | Ramp Down | Shamaas
193 |  | 13:02 | 700 | 400 | 200 | 300 | 1.5 | 1 | 30 | 13:03 | Ramp Down | Shamaas
194 | 17-07-2021 | 8:38 | 400 | 900 | 200 | 500 | 2.5 | 2 | 30 | 8:41 | Ramp Up | ASAD ALI
195 |  | 8:44 | 900 | 1000 | 200 | 100 | 0.5 | 0 | 30 | 8:44 | Ramp Up | ASAD ALI
196 |  | 14:58 | 1000 | 1300 | 100 | 300 | 3 | 3 | 0 | 15:01 | Ramp Up | Zubair Tufail
197 |  | 15:04 | 1300 | 700 | 100 | 600 | 6 | 6 | 0 | 15:10 | Ramp Down | Zubair Tufail
198 |  | 16:33 | 700 | 900 | 200 | 200 | 1 | 1 | 0 | 16:34 | Ramp Up | Zubair Tufail
199 | 18-07-2021 | 8:12 | 900 | 500 | 200 | 400 | 2 | 2 | 0 | 8:14 | Ramp Down | Zubair Tufail
200 |  | 11:14 | 500 | 900 | 200 | 400 | 2 | 2 | 0 | 11:16 | Ramp Up | Qasim
201 |  | 11:35 | 900 | 1300 | 200 | 400 | 2 | 2 | 0 | 11:37 | Ramp Up | Qasim
202 |  | 11:47 | 1300 | 1200 | 200 | 100 | 0.5 | 0 | 30 | 11:47 | Ramp Down | Qasim
203 |  | 14:42 | 1200 | 1050 | 100 | 150 | 1.5 | 1 | 30 | 14:44 | Ramp Down | Qasim
204 |  | 21:37 | 1050 | 800 | 200 | 250 | 1.25 | 1 | 15 | 21:38 | Ramp Down | ASAD ALI
205 | 19-07-2021 | 10:27 | 800 | 1200 | 150 | 400 | 2.6667 | 2 | 40 | 10:30 | Ramp Up | Shamaas
206 |  | 10:44 | 1200 | 800 | 200 | 400 | 2 | 2 | 0 | 10:46 | Ramp Down | Shamaas
207 | 20-07-2021 | 0:20 | 800 | 400 | 200 | 400 | 2 | 2 | 0 | 0:22 | Ramp Down | Abu Bakar
208 | 21-07-2021 | 8:21 | 400 | 200 | 200 | 200 | 1 | 1 | 0 | 8:22 | Ramp Down | Abu Bakar
209 |  | 10:32 | 200 | 400 | 200 | 200 | 1 | 1 | 0 | 10:33 | Ramp Up | Abu Bakar
210 | 24-07-2021 | 6:31 | 400 | 500 | 100 | 100 | 1 | 1 | 0 | 6:32 | Ramp Up | ASAD ALI
211 | 25-07-2021 | 4:28 | 500 | 600 | 100 | 100 | 1 | 1 | 0 | 4:29 | Ramp Up | Abu Bakar
212 |  | 8:01 | 600 | 1200 | 500 | 600 | 1.2 | 1 | 12 | 8:02 | Ramp Up | Abu Bakar
213 | 27-07-2021 | 5:10 | 1200 | 1400 | 100 | 200 | 2 | 2 | 0 | 5:12 | Ramp Up | Habib Ullah
214 |  | 5:18 | 1400 | 1600 | 200 | 200 | 1 | 1 | 0 | 5:19 | Ramp Up | Habib Ullah
215 |  | 5:27 | 1600 | 1800 | 100 | 200 | 2 | 2 | 0 | 5:29 | Ramp Up | Habib Ullah
216 |  | 5:36 | 1800 | 2000 | 100 | 200 | 2 | 2 | 0 | 5:38 | Ramp Up | Habib Ullah
217 |  | 5:46 | 2000 | 2200 | 100 | 200 | 2 | 2 | 0 | 5:48 | Ramp Up | Habib Ullah
218 |  | 7:57 | 2200 | 1500 | 100 | 700 | 7 | 7 | 0 | 8:04 | Ramp Down | ASAD ALI
219 | 28-07-2021 | 1:19 | 1500 | 1200 | 200 | 300 | 1.5 | 1 | 30 | 1:20 | Ramp Down | Shamaas
220 |  | 10:49 | 1200 | 1050 | 150 | 150 | 1 | 1 | 0 | 10:50 | Ramp Down | Abdullah
221 |  | 21:34 | 1050 | 400 | 150 | 650 | 4.3333 | 4 | 20 | 21:39 | Ramp Down | Abdullah
222 | 29-07-2021 | 18:15 | 400 | 800 | 100 | 400 | 4 | 4 | 0 | 18:19 | Ramp Up | Ashraf
223 |  | 18:22 | 800 | 900 | 100 | 100 | 1 | 1 | 0 | 18:23 | Ramp Up | Ashraf
224 |  | 22:34 | 900 | 1500 | 500 | 600 | 1.2 | 1 | 12 | 22:35 | Ramp Up | Qasim
225 |  | 4:50 | 1500 | 800 | 500 | 700 | 1.4 | 1 | 24 | 4:51 | Ramp Down | Qasim
226 | 30-07-2021 | 21:53 | 800 | 1500 | 300 | 700 | 2.3333 | 2 | 20 | 21:55 | Ramp Up | Qasim
227 | 31-07-2021 | 2:49 | 1500 | 1000 | 500 | 500 | 1 | 1 | 0 | 2:50 | Ramp Down | Habib Ullah
228 |  | 8:39 | 1000 | 900 | 100 | 100 | 1 | 1 | 0 | 8:40 | Ramp Down | Ashraf
229 | 01-08-2021 | 14:56 | 900 | 1100 | 200 | 200 | 1 | 1 | 0 | 14:57 | Ramp Up | Qasim
230 |  | 15:08 | 1100 | 1200 | 100 | 100 | 1 | 1 | 0 | 15:09 | Ramp Up | Qasim
231 |  | 15:31 | 1200 | 1300 | 100 | 100 | 1 | 1 | 0 | 15:32 | Ramp Up | Qasim
232 |  | 15:36 | 1300 | 1500 | 100 | 200 | 2 | 2 | 0 | 15:38 | Ramp Up | Qasim
233 |  | 19:11 | 1500 | 1200 | 200 | 300 | 1.5 | 1 | 30 | 19:12 | Ramp Down | Ashraf
234 | 02-08-2021 | 5:15 | 1200 | 800 | 100 | 400 | 4 | 4 | 0 | 5:19 | Ramp Down | Shamaas
235 |  | 5:23 | 800 | 400 | 100 | 400 | 4 | 4 | 0 | 5:27 | Ramp Down | Shamaas
236 |  | 5:41 | 400 | 800 | 200 | 400 | 2 | 2 | 0 | 5:43 | Ramp Up | Shamaas
237 |  | 6:04 | 800 | 1000 | 100 | 200 | 2 | 2 | 0 | 6:06 | Ramp Up | Shamaas
238 |  | 6:20 | 1000 | 1200 | 100 | 200 | 2 | 2 | 0 | 6:22 | Ramp Up | Shamaas
239 |  | 6:38 | 1200 | 1400 | 100 | 200 | 2 | 2 | 0 | 6:40 | Ramp Up | Shamaas
240 |  | 6:54 | 1400 | 1600 | 100 | 200 | 2 | 2 | 0 | 6:56 | Ramp Up | Shamaas
241 |  | 7:08 | 1600 | 1800 | 100 | 200 | 2 | 2 | 0 | 7:10 | Ramp Up | Shamaas
242 |  | 7:24 | 1800 | 2000 | 100 | 200 | 2 | 2 | 0 | 7:26 | Ramp Up | Shamaas
243 |  | 8:08 | 2000 | 2200 | 100 | 200 | 2 | 2 | 0 | 8:10 | Ramp Up | Shamaas
244 |  | 8:45 | 2200 | 2400 | 50 | 200 | 4 | 4 | 0 | 8:49 | Ramp Up | Shamaas
245 |  | 9:31 | 2400 | 2600 | 50 | 200 | 4 | 4 | 0 | 9:35 | Ramp Up | Shamaas
246 |  | 9:50 | 2600 | 2800 | 50 | 200 | 4 | 4 | 0 | 9:54 | Ramp Up | Shamaas
247 |  | 10:08 | 2800 | 3000 | 50 | 200 | 4 | 4 | 0 | 10:12 | Ramp Up | Shamaas
248 |  | 14:05 | 3000 | 2600 | 50 | 400 | 8 | 8 | 0 | 14:13 | Ramp Down | Shamaas
249 |  | 14:21 | 2600 | 2200 | 50 | 400 | 8 | 8 | 0 | 14:29 | Ramp Down | Shamaas
250 |  | 14:33 | 2200 | 2000 | 50 | 200 | 4 | 4 | 0 | 14:37 | Ramp Down | Shamaas
251 |  | 14:56 | 2000 | 1600 | - | 400 | 0 | 0 | 0 | 14:56 | Runback | Shamaas
252 |  | 15:06 | 1600 | 1200 | 100 | 400 | 4 | 4 | 0 | 15:10 | Ramp Down | Shamaas
253 |  | 15:14 | 1200 | 1000 | 100 | 200 | 2 | 2 | 0 | 15:16 | Ramp Down | Shamaas
254 |  | 16:41 | 1000 | 800 | 200 | 200 | 1 | 1 | 0 | 16:42 | Ramp Down | Shamaas
255 |  | 16:54 | 800 | 1000 | 100 | 200 | 2 | 2 | 0 | 16:56 | Ramp Up | Shamaas
256 |  | 17:16 | 1000 | 800 | 50 | 200 | 4 | 4 | 0 | 17:20 | Ramp Down | Shamaas
257 |  | 17:30 | 800 | 400 | 50 | 400 | 8 | 8 | 0 | 17:38 | Ramp Down | Shamaas
258 |  | 17:57 | 400 | 0 | - | 400 | 0 | 0 | 0 | 17:57 | BLOCK | Shamaas
259 |  | 18:13 | 0 | 400 | - | -400 | 0 | 0 | 0 | 18:13 | DEBLOCK | Shamaas
260 |  | 19:19 | 400 | 600 | 200 | 200 | 1 | 1 | 0 | 19:20 | Ramp Up | Ahmed Usman
261 |  | 19:35 | 600 | 800 | 200 | 200 | 1 | 1 | 0 | 19:36 | Ramp Up | Ahmed Usman
262 |  | 19:49 | 800 | 1000 | 200 | 200 | 1 | 1 | 0 | 19:50 | Ramp Up | Qasim
263 |  | 19:59 | 1000 | 1300 | 200 | 300 | 1.5 | 1 | 30 | 20:00 | Ramp Up | Ahmed Usman
264 |  | 20:44 | 1300 | 1600 | 100 | 300 | 3 | 3 | 0 | 20:47 | Ramp Up | Ashraf
265 | 03-08-2021 | 1:20 | 1600 | 1200 | 100 | 400 | 4 | 4 | 0 | 1:24 | Ramp Down | Ashraf
266 |  | 8:34 | 1200 | 1400 | 200 | 200 | 1 | 1 | 0 | 8:35 | Ramp Up | Ashraf
267 |  | 11:27 | 1400 | 1500 | 100 | 100 | 1 | 1 | 0 | 11:28 | Ramp Up | Habib Ullah
268 |  | 11:33 | 1500 | 1350 | 100 | 150 | 1.5 | 1 | 30 | 11:35 | Ramp Down | Habib Ullah
269 |  | 18:28 | 1350 | 1100 | 200 | 250 | 1.25 | 1 | 15 | 18:30 | Ramp Down | Abdullah
270 |  | 19:53 | 1100 | 1350 | 200 | 250 | 1.25 | 1 | 15 | 19:54 | Ramp Up | Qasim
271 |  | 20:24 | 1350 | 1250 | 100 | 100 | 1 | 1 | 0 | 20:25 | Ramp Down | Qasim
272 | 04-08-2021 | 0:35 | 1250 | 1000 | 100 | 250 | 2.5 | 2 | 30 | 0:38 | Ramp Down | Abdullah
273 |  | 9:43 | 1000 | 1300 | 100 | 300 | 3 | 3 | 0 | 9:46 | Ramp Up | Shamaas
274 |  | 9:58 | 1300 | 1400 | 100 | 100 | 1 | 1 | 0 | 9:59 | Ramp Up | Shamaas
275 |  | 14:18 | 1400 | 1600 | 100 | 200 | 2 | 2 | 0 | 14:20 | Ramp Up | Habib Ullah
|  | 14:26 | 1600 | 1700 | 100 | 100 | 1 | 1 | 0 | 14:27 | Ramp Up | Habib Ullah
|  | 14:52 | 1700 | 1500 | 100 | 200 | 2 | 2 | 0 | 14:54 | Ramp Down | Ahmed Usman
|  | 18:13 | 1500 | 1300 | 100 | 200 | 2 | 2 | 0 | 18:15 | Ramp Down | Qasim
276 |  | 19:35 | 1300 | 1450 | 50 | 150 | 3 | 3 | 0 | 19:38 | Ramp Up | Qasim
#REF! | 05-08-2021 |  | 1450
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!

## ENGINEERS NAME
Engineers name
Abdullah
Abu Bakar
Ahmed Usman
ASAD ALI
Ashraf
Ehzaz
Habib Ullah
Shamaas
M USMAN
Qasim
Rehan Majeed
Shamaas
Zubair Tufail